## Slide 1
PINN v4
Physics-Informed Neural Network for
Non-Invasive Diastolic Hemodynamic Estimation
Kwanhyeong Lee
Architecture & Design Features
1 / 10

## Slide 2
The Problem: Nagueh Tautology
v3c — Circular Dependency
Simulator:
EDP (set)
-> E/e' = (EDP - 1.9) / 1.24
PINN learned:
E/e' (input)
-> EDP = 1.24 * E/e' + 1.9
Result:
PINN merely reproduced the Nagueh formula.
EDP AUC = E/e' AUC -> zero added value
>>
v4 — Physics-Based Solution
E/e' is EMERGENT from physiology:
e' = f(tau, Eed)
relaxation + stiffness
E = g(delta_P, tau)
transmitral gradient
E/e' = E / e' (not prescribed)
Same E/e' = 10 can mean:
tau=45, Eed=0.06 -> EDP=10 (normal)
tau=55, Eed=0.04 -> EDP=22 (HFrEF)
2 / 10

## Slide 3
Architecture Overview
11 Inputs
EF
EDV, ESV
SBP, DBP
HR, CO
E/e'
E/A, DT
LAVI
>>
Encoder MLP
Linear(11, 256)
SiLU + BN + Drop
Linear(256, 128)
SiLU + BN + Drop
Linear(128, 64)
SiLU + BN
Linear(64, 7)
>>
7 Latent
Ees_delta
Eed
V0
A
tau
Ea_raw
gate_Ea
>>
Physics Decoder
Ees
Eed (stiffness)
Ea (afterload)
Ea/Ees coupling
EDP (mmHg)
Efficiency
tau (ms)
Raw inputs also feed decoder directly (bypass connection for physics equations)
3 / 10

## Slide 4
Physics Decoder: EDPVR Embedding
EDP = A x exp( Eed x (EDV - V0) )
Pure exponential EDPVR — no Nagueh formula blending
Eed
[0.005, 0.50] 1/ml
Chamber stiffness
coefficient.
Key diastolic
biomarker.
V0
[-20, 30] ml
Unstressed volume.
Derived from
ESPVR consistency.
A
[0.1, 5.0] mmHg
EDPVR scaling
factor. Sets
baseline pressure.
EDP
[1, 45] mmHg
End-diastolic
pressure. Primary
clinical output.
4 / 10

## Slide 5
Diastolic Physiology Model
e' (annular velocity)
e' = 13 * sqrt(tau_ref / tau)
* exp(-8 * (Eed - 0.05))
Relaxation (tau) + Stiffness (Eed)
E (transmitral velocity)
delta_P = LAP - P_min
E = 18 * sqrt(delta_P) * eff(tau)
Bernoulli + pseudonormalization
E/e' = E / e' Emergent, not prescribed
Same E/e' = 10 maps to different EDP depending on tau, Eed, EDV. PINN disambiguates using all 11 inputs.
5 / 10

## Slide 6
Systolic & Arterial Elastance
Ees — Systolic Elastance
Chen/Shishido approximation:
Chen_Ees = ESP / |ESV - 0.1*EDV|
Ees = Chen_Ees * (1 + 0.3*tanh(d))
Physics-anchored estimate with a learned
correction factor (delta) from the encoder.
Range: [0.3, 10.0] mmHg/ml
Ea — Arterial Elastance
Gated blend mechanism:
Ea_phys = ESP / SV
Ea_learn = sigmoid(raw)*[0.3,6.0]
gate = sigma(latent[6])
Ea = gate*Ea_learn
+ (1-gate)*Ea_phys
Learns when to trust physics vs. data.
6 / 10

## Slide 7
Training Pipeline
1
Simulator
6 cardiac phenotypes
(Normal, HFrEF, HFpEF,
HTN, Elderly, Athlete)
15,000 samples
with measurement noise
>>
2
Standardize
StandardScaler on
11 input features.
Scaler saved in
checkpoint for
MIMIC inference.
>>
3
Train
MSE on 7 targets
Weighted loss:
[1, 5, 1, 0.5, 3, 0.5, 2]
Eed x5, EDP x3, tau x2
SiLU + BN + Dropout
>>
4
Validate
MIMIC-IV-ECHO
35,540 echo studies
PCWP (n=1,692)
DD grade as external
validation targets
Loss weights emphasize diastolic: Eed x5, EDP x3, tau x2 | Systolic/coupling at x1 / x0.5
7 / 10

## Slide 8
Circularity Defense
1. EDPVR-Only EDP
EDP = A * exp(Eed * (EDV - V0)). Zero contribution from E/e' in the equation. No Nagueh formula anywhere in decoder.
2. Emergent E/e'
Simulator generates E/e' from tau and Eed via diastolic physiology. Not from inverse Nagueh (EDP - 1.9) / 1.24.
3. E/e' Dropout
30% masking of E/e' during training. Forces model to rely on EDV, ESV, HR, CO for EDP estimation when E/e' is absent.
8 / 10

## Slide 9
MIMIC-IV Validation Results
0.688
Eed AUC
PCWP >= 18
0.650
DD Grade
Spearman rho
+0.009
Incremental
over E/e' alone
35,540
Echo Studies
MIMIC-IV
Model | Eed AUC | EDP AUC | DD rho
E/e' alone | 0.738 | -- | --
PINN v41 (best) | 0.688 | 0.655 | 0.650
E/e' + PINN Eed | 0.746 | -- | --
9 / 10

## Slide 10
Summary & Next Steps
Physics-embedded decoder: EDPVR equation replaces learned shortcuts
Emergent E/e' from diastolic physiology (tau, Eed) breaks Nagueh tautology
Novel non-invasive tau estimation — relaxation time constant as output
Gated Ea: learns when to trust physics (ESP/SV) vs. encoder correction
MIMIC-IV validation: 35,540 studies, Eed AUC 0.688, DD rho 0.650
Next Steps
1. IEEE JBHI submission — methods novelty focus (single MIMIC cohort)
2. MESA external validation via BioLINCC (IRB + application in parallel)
3. npj Digital Medicine — with MESA multi-ethnic external validation
10 / 10