Supplementary Data Sheet

Physics-Informed Neural Network for Non-Invasive Cardiac Contractility (Ees) Estimation: Mathematical Formulation and Parameter Definitions

This supplementary material provides the complete mathematical formulation of the Physics-Informed Neural Network (PINN) model for cardiac end-systolic elastance estimation. The sub-models include:

1.  Cardiac pressure-volume (PV) loop relationships and hemodynamic equations

2.  Physics-Informed Neural Network (PINN) architecture and forward propagation

3.  PINN loss function design incorporating ESPVR and Frank-Starling physics constraints

4.  Analytical gradient computation via chain rule through physics equations

5.  Physics-informed feature extraction for clinical data augmentation

6.  Multi-cohort external validation protocol

a. Cardiac Pressure-Volume Loop Relationships

The cardiac pressure-volume (PV) loop provides a comprehensive framework for characterizing ventricular mechanics. The following equations define the fundamental hemodynamic relationships used as physics constraints in the PINN model.

i. End-Systolic Pressure-Volume Relationship (ESPVR)

The ESPVR defines a linear relationship between end-systolic pressure (Pes) and end-systolic volume (Ves) through the end-systolic elastance Ees:

P_es = E_es × (V_es − V₀)	(1)

where P_es is end-systolic pressure (mmHg), E_es is end-systolic elastance (mmHg/mL), V_es is end-systolic volume (mL), and V₀ is the volume-axis intercept (mL). E_es is considered a load-independent index of myocardial contractility (Suga & Sagawa, 1974).

Under the simplifying assumption that aortic valve closure occurs at peak systolic pressure, the end-systolic pressure can be approximated by mean aortic pressure:

P_es ≈ AoP (mean aortic pressure)	(2)

Rearranging Eq. (1) to solve for Ees:

E_es = AoP / (V_es − V₀)	(3)

ii. End-Diastolic Pressure-Volume Relationship (EDPVR)

The EDPVR describes the passive filling properties of the ventricle through a nonlinear exponential relationship:

P_ed = A × [exp(B × (V_ed − V₀)) − 1]	(4)

where P_ed is end-diastolic pressure (mmHg), V_ed is end-diastolic volume (mL), A is the curve scaling coefficient (mmHg), and B is the stiffness constant (mL⁻¹). The exponential form captures the characteristic nonlinear compliance of the myocardium: at low volumes the ventricle is highly compliant, while at high volumes passive stiffness increases sharply.

For the human left ventricle, Burkhoff et al. (2005) reported reference values:

A = 0.337 mmHg,  B = 0.028 mL⁻¹,  V₀ = 10 mL	(5)

iii. Frank-Starling Mechanism and Stroke Volume

The Frank-Starling law states that stroke volume (SV) increases with end-diastolic volume up to a physiological limit. Within the PV loop framework:

SV = V_ed − V_es	(6)

EF = (SV / V_ed) × 100%	(7)

CO = SV × HR / 1000	(8)

where SV is stroke volume (mL), EF is ejection fraction (%), CO is cardiac output (L/min), and HR is heart rate (beats/min).

Substituting Eq. (1) and rearranging, the ejection fraction can be expressed as a function of Ees:

EF = [1 − (V₀ + AoP/E_es) / V_ed] × 100%	(9)

This coupling equation (Eq. 9) is central to the PINN loss function, as it relates the neural network output (Ees) to the observable clinical parameter (EF).

iv. Stroke Work and Peak Left Ventricular Pressure

SW = SV × (AoP + ESP) / 2	(10)

ESP = E_es × (V_es − V₀)	(11)

Peak_LVP = max(AoP + 10, AoP + [E_es(V_ed − V₀) − AoP] × 0.15 + 15)	(12)

where SW is stroke work (mmHg·mL), a measure of external mechanical work per cardiac cycle; ESP is end-systolic pressure (mmHg); and Peak_LVP is peak left ventricular pressure (mmHg), estimated from the isovolumic contraction phase.

v. Heart Failure Classification by Ejection Fraction (ESC 2021)

Following the 2021 European Society of Cardiology (ESC) guidelines, heart failure is classified by ejection fraction:

HFpEF:  EF ≥ 50%  (preserved)	(13)

HFmrEF: 40% ≤ EF < 50%  (mildly reduced)	(14)

HFrEF:  EF < 40%  (reduced)	(15)

Table S1: Cardiac PV Loop Model Constants

| Symbol | Value | Description | Units |
| --- | --- | --- | --- |
| V₀ | 10.0 | Volume-axis intercept of ESPVR | mL |
| A | 0.337 | EDPVR scaling coefficient | mmHg |
| B | 0.028 | EDPVR stiffness constant | mL⁻¹ |
| Ees (normal) | 2.0–3.5 | Normal end-systolic elastance range | mmHg/mL |
| Ees (HFrEF) | 0.5–1.5 | Reduced elastance in heart failure | mmHg/mL |
| AoP | 60–150 | Mean aortic pressure (physiological range) | mmHg |
| HR | 45–140 | Heart rate (physiological range) | bpm |
| Ved | 70–250 | End-diastolic volume range | mL |
| Bedp | 0.012–0.060 | Patient-specific EDPVR stiffness | mL⁻¹ |

b. Physics-Informed Neural Network (PINN) Architecture

The PINN consists of a multi-layer perceptron (MLP) augmented with physics-based loss terms. Unlike standard neural networks that rely solely on data-driven loss, the PINN embeds cardiac physiology equations directly into the optimization objective.

i. Input Feature Vector

The network input x ∈ ℝ7 consists of seven hemodynamic measurements per patient:

x = [EF_n, EDV_n, ESV_n, CO_n, EDP_n, AoP, HR]	(16)

where subscript n denotes noisy clinical measurements. All inputs are standardized to zero mean and unit variance using z-score normalization: x̂ = (x − μ_x) / σ_x.

ii. Forward Propagation

The MLP architecture is [7 → 48 → 48 → 1] with tanh activation:

h⁰ = x̂  (standardized input)	(17)

z¹ = W¹ h⁰ + b¹	(18)

h¹ = tanh(z¹)	(19)

z² = W² h¹ + b²	(20)

h² = tanh(z²)	(21)

z³ = W³ h² + b³	(22)

Ē_es = σ_y × z³ + μ_y  (inverse standardization)	(23)

where Wˡ ∈ ℝ^{d_l × d_{l-1}} and bˡ ∈ ℝ^{d_l} are learnable weight matrices and bias vectors for layer l. The weight initialization follows He initialization: W ~ N(0, 2/d_{l-1}). The output is inverse-standardized to recover E_es in physical units (mmHg/mL).

iii. Activation Function Selection

The hyperbolic tangent activation function is selected for its bounded range [−1, 1] and continuously differentiable gradient, which is critical for analytical backpropagation through the physics loss:

tanh(z) = (e^z − e^{−z}) / (e^z + e^{−z})	(24)

d tanh(z) / dz = 1 − tanh²(z)	(25)

Table S2: PINN Architecture Parameters

| Symbol | Value | Description | Units |
| --- | --- | --- | --- |
| d₀ | 7 | Input dimension | — |
| d₁ | 48 | Hidden layer 1 neurons | — |
| d₂ | 48 | Hidden layer 2 neurons | — |
| d₃ | 1 | Output dimension (E_es) | — |
| φ | tanh | Activation function | — |
| N_params | 2,737 | Total trainable parameters (7×48+48 + 48×48+48 + 48×1+1) | — |

c. PINN Loss Function Design

The total loss function integrates data-driven and physics-informed components. Unlike conventional PINN approaches that enforce physics through PDE residuals, our formulation embeds cardiac-specific algebraic constraints derived from the ESPVR and Frank-Starling framework.

i. Data Loss (Mean Squared Error)

L_data = (1/N) ∑ (Ē_es,i − E_es,i)² / σ²_y	(26)

where N is the number of training samples, Ē_es,i is the PINN prediction for sample i, E_es,i is the ground truth, and σ_y is the standard deviation of the target variable used for normalization.

ii. ESPVR Physics Consistency Loss

This term penalizes violations of the end-systolic pressure-volume relationship (Eq. 1). Given the PINN output Ēes, the predicted end-systolic pressure should satisfy:

P̂_es,i = Ē_es,i × (V_es,i − V₀)	(27)

The ESPVR loss measures deviation from the observed aortic pressure:

L_ESPVR = (1/N) ∑ (AoP_i − Ē_es,i × (V_es,i − V₀))² / mean(AoP)²	(28)

where the denominator mean(AoP)² provides scale normalization so that L_ESPVR is dimensionless and comparable in magnitude to L_data.

iii. Frank-Starling Coupling Loss

This term enforces consistency between the predicted Ees and the observed ejection fraction through the Frank-Starling relationship (Eq. 9):

EF̂_i = [1 − (V₀ + AoP_i / Ē_es,i) / V_ed,i] × 100	(29)

L_coupling = (1/N) ∑ (EF_obs,i − EF̂_i)² / mean(EF)²	(30)

iv. Total Weighted Loss

L_total = L_data + λ × (w₁ × L_ESPVR + w₂ × L_coupling)	(31)

where λ is the global physics weight hyperparameter, and w₁, w₂ are relative weights for each physics term. In our implementation, w₁ = w₂ = 1 and λ is varied in the ablation study (λ ∈ {0, 0.1, 0.5, 1.0, 2.0, 5.0}).

The choice of λ balances two competing objectives: underfitting (λ too large forces the network to satisfy physics at the expense of data fit) vs. physics violation (λ = 0 reduces to a standard neural network). The optimal λ = 1.0 was determined empirically by minimizing test MAE across the validation set.

Table S3: PINN Training Hyperparameters

| Symbol | Value | Description | Units |
| --- | --- | --- | --- |
| λ | 1.0 | Physics loss weight (optimal) | — |
| w₁ | 1.0 | ESPVR loss relative weight | — |
| w₂ | 1.0 | Coupling loss relative weight | — |
| α | 0.001 | Adam learning rate | — |
| β₁ | 0.9 | Adam first moment decay | — |
| β₂ | 0.999 | Adam second moment decay | — |
| ε | 10⁻⁸ | Adam numerical stability constant | — |
| Epochs | 200 | Maximum training iterations | — |
| N | 500 | Training set size (synthetic) | patients |
| Train/Test | 80/20 | Data split ratio | % |

d. Analytical Gradient Computation via Chain Rule

A key contribution of this work is the derivation of closed-form analytical gradients for the physics loss terms. Unlike numerical differentiation (finite differences), analytical gradients are exact, computationally efficient (O(N) vs. O(N·P)), and numerically stable.

i. Standard MLP Backpropagation

For the data loss, gradients follow the standard chain rule through the network layers. Let θ = {W¹, b¹, W², b², W³, b³} denote all trainable parameters:

∂L_data/∂θ = (2/N) ∑ (Ē_es,i − E_es,i) × ∂Ē_es,i/∂θ / σ²_y	(32)

ii. ESPVR Physics Gradient Derivation

The ESPVR loss (Eq. 28) depends on Ēes through a product with (Ves − V₀). The gradient with respect to Ēes for sample i is:

∂L_ESPVR/∂Ē_es,i = −2(AoP_i − Ē_es,i(V_es,i − V₀)) × (V_es,i − V₀) / (N × mean(AoP)²)	(33)

Since Ēes = σy × z³ + μy, the chain to the raw output z³ gives:

∂L_ESPVR/∂z³_i = ∂L_ESPVR/∂Ē_es,i × σ_y	(34)

iii. Frank-Starling Coupling Gradient Derivation

The coupling loss involves Ēes in the denominator of the EF prediction (Eq. 29). Differentiating:

∂EF̂_i/∂Ē_es,i = AoP_i / (Ē²_es,i × V_ed,i) × 100	(35)

∂L_coupling/∂Ē_es,i = −2(EF_obs,i − EF̂_i) × ∂EF̂_i/∂Ē_es,i / (N × mean(EF)²)	(36)

iv. Combined Physics-Informed Gradient

The total gradient at the output layer combines all three loss components:

∂L_total/∂z³ = ∂L_data/∂z³ + λ × (w₁ × ∂L_ESPVR/∂z³ + w₂ × ∂L_coupling/∂z³)	(37)

This combined gradient is then propagated backwards through the hidden layers using standard backpropagation (Eqs. 18–22), leveraging the derivative of tanh (Eq. 25).

v. Adam Optimizer Update Rules

m_t = β₁ m_{t-1} + (1 − β₁) g_t	(38)

v_t = β₂ v_{t-1} + (1 − β₂) g²_t	(39)

m̂_t = m_t / (1 − β₁ᵗ)	(40)

v̂_t = v_t / (1 − β₂ᵗ)	(41)

θ_{t+1} = θ_t − α × m̂_t / (√v̂_t + ε)	(42)

where g_t = ∂L_total/∂θ is the gradient vector, m_t and v_t are the first and second moment estimates, and the bias-corrected estimates m̂_t, v̂_t account for initialization bias (Kingma & Ba, 2015).

e. Physics-Informed Feature Extraction for Clinical Data

For external validation on real clinical datasets that lack direct PV loop measurements, we employ reverse-engineering of hemodynamic parameters from available clinical variables. This approach leverages the ESPVR and EDPVR equations (Eqs. 1–4) to estimate PV loop parameters from routinely available data.

i. Reverse-Engineering from Ejection Fraction

When ejection fraction is directly available (e.g., UCI Heart Failure dataset):

V̂_ed = clip(120 + (55 − EF) × 1.8 + (age − 55) × 0.3 + HBP × 8,  80, 250)	(43)

V̂_es = V̂_ed × (1 − EF/100)	(44)

AoP̂ = 100 + HBP × 15	(45)

Ē_es = clip(AoP̂ / max(V̂_es − V₀, 1),  0.3, 5.0)	(46)

SV̂ = V̂_ed − V̂_es	(47)

CÔ = SV̂ × (72 + (2 − Ē_es) × 10) / 1000	(48)

EDP̂ = clip(A × [exp(B × max(V̂_ed − V₀, 0)) − 1],  1, 40)	(49)

SŴ = SV̂ × (AoP̂ + Ē_es × (V̂_es − V₀)) / 2	(50)

where clip(x, a, b) constrains x to the physiological range [a, b], HBP is a binary indicator for hypertension, and the linear models for V_ed and AoP are derived from population-level hemodynamic correlations (Burkhoff et al., 2005; Lang et al., 2015).

ii. Estimation from Maximum Heart Rate (Heart Disease datasets)

When ejection fraction is unavailable but maximum heart rate (thalach) is available, cardiac function is estimated through heart rate reserve as a surrogate:

HR_max,predicted = 220 − age	(51)

HR_fraction = clip(thalach / HR_max,predicted,  0.3, 1.2)	(52)

EF̂ = clip(55 × HR_fraction − exang × 8,  15, 75)	(53)

The remaining PV parameters are then computed from ĒF via Eqs. (43)–(50), substituting trestbps for AoP. The physiological rationale: maximal heart rate achieved during exercise reflects cardiac chronotropic competence, which correlates with systolic function (Brubaker & Kitzman, 2011).

Table S4: Physics-Informed Feature Definitions

| Feature | Symbol | Derivation | Units |
| --- | --- | --- | --- |
| EDV_ph | V̂_ed | Eq. (43): regression from EF, age, HBP | mL |
| ESV_ph | V̂_es | Eq. (44): V_ed × (1 − EF/100) | mL |
| SV_ph | SV̂ | Eq. (47): V_ed − V_es | mL |
| Ees_ph | Ē_es | Eq. (46): AoP / (V_es − V₀) | mmHg/mL |
| CO_ph | CÔ | Eq. (48): SV × HR / 1000 | L/min |
| EDP_ph | EDP̂ | Eq. (49): EDPVR exponential model | mmHg |
| SW_ph | SŴ | Eq. (50): SV × (AoP + ESP) / 2 | mmHg·mL |
| EF_ph | EF̂ | Eq. (53): HR fraction surrogate (when EF unavailable) | % |

f. Multi-Cohort External Validation Protocol

To assess the generalizability of physics-informed feature augmentation, we conducted backtesting across six independent clinical cohorts. The classification task evaluates whether adding physics-derived PV features (Table S4) to baseline clinical features improves prediction performance.

i. Dataset Descriptions

Table S5: Multi-Cohort Dataset Characteristics

| Dataset | N | Task | Source | EF avail. | License |
| --- | --- | --- | --- | --- | --- |
| UCI Heart Failure | 299 | Mortality | Chicco & Jurman | Yes | CC BY 4.0 |
| Cleveland | 302 | Diagnosis | UCI ML Repository | No | CC BY 4.0 |
| Statlog | 270 | Diagnosis | UCI ML Repository | No | CC BY 4.0 |
| Hungarian | 294 | Diagnosis | UCI ML Repository | No | CC BY 4.0 |
| Switzerland | 123 | Diagnosis | UCI ML Repository | No | CC BY 4.0 |
| Combined | 718 | Diagnosis | Multi-center | No | CC BY 4.0 |

ii. Cross-Validation Protocol

For each dataset, two Random Forest classifiers are trained and compared via 5-fold stratified cross-validation:

Model_baseline: f(X_clinical) → ŷ	(54)

Model_physics: f(X_clinical ⊕ X_physics) → ŷ	(55)

where X_clinical contains the original dataset features, X_physics contains the 7–8 physics-derived PV loop features (Table S4), and ⊕ denotes feature concatenation. Both models use identical hyperparameters: n_estimators = 200, max_depth = 10, min_samples_leaf = 3, class_weight = balanced.

The performance difference ΔAUC = AUCphysics − AUCbaseline quantifies the marginal contribution of physics-informed features. A negative ΔAUC indicates that the physics features introduce redundant dimensionality without adding predictive information.

Table S6: Multi-Cohort Backtest Results (5-Fold Stratified CV)

| Dataset | AUC_baseline | AUC_+physics | ΔAUC |
| --- | --- | --- | --- |
| UCI Heart Failure | 0.9148 ± 0.0225 | 0.9039 ± 0.0253 | −0.0109 |
| Cleveland | 0.9009 ± 0.0173 | 0.8987 ± 0.0216 | −0.0022 |
| Statlog | 0.8889 ± 0.0424 | 0.8531 ± 0.0618 | −0.0358 |
| Hungarian | 0.8990 ± 0.0471 | 0.8773 ± 0.0544 | −0.0217 |
| Switzerland | 0.6826 ± 0.2047 | 0.5522 ± 0.1061 | −0.1304 |
| Combined (N=718) | 0.9193 ± 0.0128 | 0.9057 ± 0.0168 | −0.0136 |

iii. Interpretation of Negative ΔAUC

The consistently negative ΔAUC across all six cohorts (mean Δ = −0.036) is explained by the information-theoretic redundancy of physics-derived features. Since these features are deterministic functions of existing clinical variables (Eqs. 43–53), they cannot introduce information not already accessible to a nonlinear classifier such as Random Forest. The additional dimensions increase feature space complexity without proportional information gain, leading to marginal performance degradation through the curse of dimensionality.

This finding is consistent with the theoretical framework of sufficient statistics: if Xclinical contains all the variables from which Xphysics is computed, then Xphysics is a sufficient statistic of Xclinical for the prediction task, and concatenation cannot improve (and may degrade) discriminative power. Crucially, this result does not diminish the value of the PINN approach; rather, it demonstrates that the clinical contribution of physics-informed modeling lies in Ees estimation itself (a regression task requiring physical interpretation), not in feature augmentation for classification.

g. Clinical Validation of PINN-Estimated Eₑₛ

i. Validation Framework: Input–Output Specification

The clinical validation employs the UCI Heart Failure Clinical Records dataset (N = 299) [7], which provides echocardiographic ejection fraction (EF) as an independent ground truth. The PINN model, trained on simulated PV-loop data (N = 800), is applied to clinical patients with the following input–output specification:

Input Vector: X = [EFecho, EDVest, ESVest, COest, EDPest, AoPest, HRest]

Output: Ees (mmHg/mL) — estimated end-systolic elastance per patient

Hemodynamic features are derived from available clinical data using established approximations:

EDV = 120 + 1.8 × (55 − EF) + 0.3 × (Age − 55) + 8 × HBP	(56)

ESV = EDV × (1 − EF / 100)	(57)

AoP = 100 + 15 × HBP	(58)

where HBP is the binary hypertension indicator. These approximations follow Teichholz-derived relationships [5] and enable mapping from clinical features to the seven-dimensional input space required by the PINN.

ii. Forward-Model EF Consistency

To validate that PINN-estimated Ees is physiologically consistent, we compute a forward-model predicted EF from the estimated Ees using the Frank–Starling coupling equation (Eq. 12):

EF_pred = (EDV − V₀ − AoP / E_es) / EDV × 100	(59)

Comparison of predicted EF against echocardiographic EF yields: Pearson r = 0.991, MAE = 2.01%, RMSE = 2.57%, R² = 0.953. Bland–Altman analysis reveals a mean bias of +2.0% with 95% limits of agreement [−1.2%, +5.2%], indicating excellent agreement between the physics-constrained prediction and clinical measurement.

iii. Mortality Discrimination

The estimated Ees significantly discriminates between survivors and deceased patients (Table S7). Survivors exhibited higher Ees (1.428 ± 0.661 mmHg/mL) compared to deceased patients (1.169 ± 0.607 mmHg/mL), with p = 1.37 × 10⁻³ (independent t-test) and p = 2.14 × 10⁻⁷ (Mann–Whitney U test). For mortality prediction, Ees achieves AUC = 0.686, marginally outperforming echocardiographic EF alone (AUC = 0.676, ΔAUC = +0.010). This demonstrates that the physics-informed transformation from EF to Ees preserves and slightly enhances prognostic information.

iv. Physiological Plausibility

The distribution of PINN-estimated Ees is consistent with expectations for a heart failure cohort. Normal Ees in healthy adults ranges 2.0–3.5 mmHg/mL [1,2]. In this HF dataset, 87.0% of patients show reduced Ees (<2.0 mmHg/mL), 12.4% fall within the normal range, and only 0.7% show hyperdynamic values (>3.5 mmHg/mL). The mortality rate is highest in the reduced-Ees subgroup, consistent with the established relationship between impaired contractility and adverse outcomes [6].

Ees shows significant positive correlation with serum sodium (r = +0.143, p = 0.014), consistent with the known association between hyponatremia and heart failure severity [6]. The absence of significant correlation with age (r = −0.032, p = 0.579) is expected, as Ees reflects acute contractile state rather than chronic age-related remodeling.

Table S7. Clinical Validation Metrics for PINN-Estimated Ees

| Metric | Value | Interpretation |
| --- | --- | --- |
| Ees vs EF (Pearson r) | 0.935 | Very strong positive |
| Ees vs EF (Spearman ρ) | 0.982 | Near-monotonic |
| Forward EF MAE | 2.01% | Clinically acceptable |
| Forward EF R² | 0.953 | Excellent agreement |
| Bland–Altman Bias | +2.0% | Minimal systematic bias |
| Bland–Altman 95% LoA | [−1.2%, +5.2%] | Narrow agreement limits |
| Ees (Survivors) | 1.428 ± 0.661 | Higher contractility |
| Ees (Deceased) | 1.169 ± 0.607 | Reduced contractility |
| Mortality t-test | p = 1.37e-03 | Highly significant |
| Ees AUC (mortality) | 0.686 | Moderate discriminative power |
| EF AUC (mortality) | 0.676 | Ees slightly superior |
| Reduced Ees (<2.0) | 87.0% | Expected in HF cohort |
| Na+ correlation | r = +0.143* | Consistent with HF severity |

Table S8. PINN Input–Output Specification for Clinical Application

| Direction | Variable | Source | Description |
| --- | --- | --- | --- |
| INPUT | EF (%) | Echocardiography | Measured ejection fraction |
| INPUT | EDV (mL) | Derived (Eq. 56) | Estimated end-diastolic volume |
| INPUT | ESV (mL) | Derived (Eq. 57) | Estimated end-systolic volume |
| INPUT | CO (L/min) | Derived | SV x HR / 1000 |
| INPUT | EDP (mmHg) | Derived (EDPVR) | Exponential PV model |
| INPUT | AoP (mmHg) | Derived (Eq. 58) | Estimated aortic pressure |
| INPUT | HR (bpm) | Derived | Estimated from age |
| OUTPUT | Ees (mmHg/mL) | PINN prediction | End-systolic elastance (contractility) |

References

1. Suga H, Sagawa K. Instantaneous pressure-volume relationships and their ratio in the excised, supported canine left ventricle. Circ Res. 1974;35(1):117–126.

2. Burkhoff D, Mirsky I, Suga H. Assessment of systolic and diastolic ventricular properties via pressure-volume analysis. Am J Physiol Heart Circ Physiol. 2005;289(2):H501–H512.

3. Kingma DP, Ba J. Adam: A method for stochastic optimization. Proc ICLR. 2015.

4. Raissi M, Perdikaris P, Karniadakis GE. Physics-informed neural networks. J Comput Phys. 2019;378:686–707.

5. Lang RM, Badano LP, Mor-Avi V, et al. Recommendations for cardiac chamber quantification by echocardiography in adults. J Am Soc Echocardiogr. 2015;28(1):1–39.

6. McDonagh TA, Metra M, Adamo M, et al. 2021 ESC Guidelines for the diagnosis and treatment of acute and chronic heart failure. Eur Heart J. 2021;42(36):3599–3726.

7. Chicco D, Jurman G. Machine learning can predict survival of patients with heart failure. BMC Med Inform Decis Mak. 2020;20(1):16.

8. Brubaker PH, Kitzman DW. Chronotropic incompetence. Circulation. 2011;123(9):1010–1020.